## HPP1
Highland Pine Products Pty Ltd, Gate 3, Albion St, Oberon NSW, 2787 - EPL# 887
Link to EPA Public Registers https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
EPA ID 1 - Surface Water Discharge point.
|  |  | Biochemical Oxygen Demand (mg/L) |  |  | Filterable Iron (mg/L) |  |  | Methylene Blue Active Substances (mg/L) |  |  | Nitrate + Nitrite (oxidised nitrogen( (mg/L) |  |  | Oil & Grease (mg/L) |  |  | pH | Total Iron (mg/L) |  |  | Total Suspended Solids (mg/L) |  |  | Turbidity (nephelometric turbidity units) |  |  | Relevant observations and reasons for data correction. | Corrected Data | Date Corrected
|  |  | Limit 20 mg/L |  |  | No Limit |  |  | No Limit |  |  | No Limit |  |  | Limit 10 mg/L |  |  | Limit 6.5-8.5 |  | No Limit |  | Limit 30 mg/L |  |  | No Limit
Sample Date (results) | Date Sample Obtained | Date Published. | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Result | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value | Lowest Value | Mean Value | Highest Value
Where no data has been published for a particular month it indicates the level of pollutant was below the level of detection or there was no discharge for that month
|  | 2026-01-31 | **See notes** | [24 empty] | No rainfall of significance this month - nil discharge. Discharge dam looks clear but level is well below discharge point - 31/1/26
|  | 2026-01-01 | **See notes** | [24 empty] | Diversion removed - AKD has taken responsibility for water monitoring from 1/1/26
|  | 2025-12-01 | **See notes** | [24 empty] | 1/12/2025- No new data to report. Diversion of flow still in place.
|  | 2025-11-01 | **See notes** | [24 empty] | 1/11/2025- No new data to report. Diversion of flow still in place.
|  | 2025-10-01 | **See notes** | [24 empty] | 1/10/2025- No new data to report. Diversion of flow still in place.
|  | 2025-09-01 | **See notes** | [24 empty] | 1/09/2025- No new data to report. Diversion of flow still in place.
|  | 2025-08-01 | **See notes** | [24 empty] | 1/08/2025- No new data to report. Diversion of flow still in place.
|  | 2025-07-01 | **See notes** | [24 empty] | 1/07/2025- No new data to report. Diversion of flow still in place.
|  | 2025-06-01 | **See notes** | [24 empty] | 1/06/2025- No new data to report. Diversion of flow still in place.
|  | 2025-05-01 | **See notes** | [24 empty] | 1/05/2025- No new data to report. Diversion of flow still in place.
|  | 2025-04-01 | **See notes** | [24 empty] | 1/04/2025- No new data to report. Diversion of flow still in place.
|  | 2025-03-03 | **See notes** | [24 empty] | 3/03/2025- No new data to report. Diversion of flow still in place.
|  | 2025-02-01 | **See notes** | [24 empty] | 1/02/2025- No new data to report. Diversion of flow still in place.
|  | 2025-01-01 | **See notes** | [24 empty] | 1/01/2025- No new data to report. Diversion of flow still in place.
|  | 2024-12-06 | **See notes** | [24 empty] | 06/12/24 - No new data to report. Diversion of flow still in place.
|  | 2024-11-06 | **See notes** | [24 empty] | 06/11/24 - No new data to report. Diversion of flow still in place.
|  | 2024-10-06 | **See notes** | [24 empty] | 06/10/24 - No new data to report. Diversion of flow still in place.
|  | 2024-09-06 | **See notes** | [24 empty] | 06/09/24 - No new data to report. Diversion of flow still in place.
|  | 2024-08-06 | **See notes** | [24 empty] | 06/08/24 - No new data to report. Diversion of flow still in place.
|  | 2024-07-07 | **See notes** | [24 empty] | 07/07/24 - No new data to report. Diversion of flow still in place.
|  | 2024-06-15 | **See notes** | [24 empty] | 15/06/24 - No new data to report. Diversion of flow still in place.
|  | 2024-05-30 | **See notes** | [24 empty] | 30/05/24 - No new data to report. Diversion of flow still in place.
|  | 2024-04-30 | **See notes** | [24 empty] | 30/04/24 - No new data to report. Diversion of flow still in place.
|  | 2024-03-28 | **See notes** | [24 empty] | 28/03/24 - No new data to report. Diversion of flow still in place.
|  | 2024-02-28 | **See notes** | [24 empty] | 28/02/24 - No new data to report. Diversion of flow still in place.
|  | 30/1/2024 | **See notes** | [24 empty] | 30/01/24 - No new data to report. Diversion of flow still in place.
|  | 30/12/2023 | **See notes** | [24 empty] | 30/12/23 - No new data to report. Diversion of flow still in place.
|  | 30/11/2023 | **See notes** | [24 empty] | 30/11/23 - No new data to report. Diversion of flow still in place.
|  | 30/10/2023 | **See notes** | [24 empty] | 30/10/23 - No new data to report. Diversion of flow still in place.
|  | 25/9/2023 | **See notes** | [24 empty] | 25/09/23 - No new data to report. Diversion of flow still in place.
|  | 25/8/2023 | **See notes** | [24 empty] | 25/08/23 - No new data to report. Diversion of flow still in place.
|  | 28/7/2023 | **See notes** | [24 empty] | 27/07/23 - No new data to report. Diversion of flow still in place.
|  | 28/6/2023 | **See notes** | [24 empty] | 28/06/23 - No new data to report. Diversion of flow still in place.
|  | 28/5/2023 | **See notes** | [24 empty] | 28/05/23 - No new data to report. Diversion of flow still in place.
|  | 28/4/2023 | **See notes** | [24 empty] | 28/04/23 - No new data to report. Diversion of flow still in place.
|  | 27/3/2023 | **See notes** | [24 empty] | 28/03/23 - No new data to report. Diversion of flow still in place.
|  | 30/2/2023 | **See notes** | [24 empty] | 30/02/23 - No new data to report. Diversion of flow still in place.
|  | 2023-01-11 | **See notes** | [24 empty] | 11/01/23 - No new data to report. Diversion of flow still in place.
|  | 2022-12-06 | **See notes** | [24 empty] | 06/11222 - No new data to report. Diversion of flow still in place.
|  | 2022-11-06 | **See notes** | [24 empty] | 06/11/22 - No new data to report. Diversion of flow still in place.
|  | 2022-10-06 | **See notes** | [24 empty] | 06/10/22 - No new data to report. Diversion of flow still in place.
|  | 2022-09-06 | **See notes** | [24 empty] | 06/09/22 - No new data to report. Diversion of flow still in place.
|  | 2022-08-06 | **See notes** | [24 empty] | 06/08/22 - No new data to report. Diversion of flow still in place.
|  | 2022-07-06 | **See notes** | [24 empty] | 06/07/22 - No new data to report. Diversion of flow still in place.
|  | 2022-06-06 | **See notes** | [24 empty] | 06/06/22 - No new data to report. Diversion of flow still in place.
|  | 2022-05-02 | **See notes** | [24 empty] | 02/05/22 - No new data to report. Diversion of flow still in place.
|  | 2022-04-02 | **See notes** | [24 empty] | 02/04/22 - No new data to report. Diversion of flow still in place.
|  | 2022-03-02 | **See notes** | [24 empty] | 02/03/22 - No new data to report. Diversion of flow still in place.
|  | 2022-02-02 | **See notes** | [24 empty] | 02/02/22 - No new data to report. Diversion of flow still in place.
|  | 2021-12-09 | **See notes** | [24 empty] | 09/12/21 - No new data to report. Diversion of flow still in place.
|  | 13/9/2021 | **See notes** | [24 empty] | 13/09/21 - No new data to report. Diversion of flow still in place.
|  | 2021-02-01 | **See notes** | [24 empty] | 20/01/21 - No new data to report. Diversion of flow still in place.
13/8/20 Sheet reviewed and updated.
Water has been diverted away from EPA ID 1 therefore no discharge at this point is expected in the foreseeable future.